## Results
ID | Meter Manufacturer | Model (Marketing Name) | Device Type | Device Model (CPL) [HW and FW version] | Date of Submission | Submitting Organisation | Result Date | Test Facility Name | Result WAN CSP N | Result HAN 2.4GHz CSP N | Result HAN 868MHz CSP N | Result WAN CSP CS | Result HAN 868MHz CSP CS | Result HAN 2.4 GHz CSP CS
1 | Kaifa Technology UK Ltd | MA120 | Single Element Electricity Metering Equipment | HW 41:31 / FW 12:09:94:16 | 2019-11-06 | Kaifa Technology UK Ltd | 2019-07-19 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
2 | Honeywell - Elster | AS302P | Single Element Electricity Metering Equipment | 00:00:01:01 - 01:30:EC:18 | 2019-11-19 | Honeywell - Elster | 2019-01-10 | Plextek | Pass - Derogation | Pass - Enduring | Outside Limits | Pass - Derogation | Outside Limits | Pass - Enduring
3 | Honeywell - Elster | AS302P | Single Element Electricity Metering Equipment | 00:00:02:01 - 01:33:EE:75 | 2019-11-19 | Honeywell - Elster | 2019-04-10 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Outside Limits | Pass - Enduring
4 | Honeywell - Elster | AS302P | Single Element Electricity Metering Equipment | 00:00:02:01 - 01:34:F0:10 | 2019-11-19 | Honeywell - Elster | 2019-08-12 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
5 | Itron | EM425-UK2 | Single Element Electricity Metering Equipment | 01:03 / 04:99:04:5C | 2019-12-06 | Itron | 2019-11-22 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
6 | Itron | EM425-UK2 5T | Single Element Electricity Metering Equipment | 01:03 / 04:99:04:5C | 2019-12-06 | Itron | 2019-11-22 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
7 | Landis + Gyr | E470 120mm | Single Element Electricity Metering Equipment | HW 00.03.02.01 FW 24.03.11.00 | 2020-01-23 | Landis + Gyr | 2019-12-18 | Plextek | Outside Limits | Pass - Enduring | Pass - Derogation | Pass - Enduring | Pass - Enduring | Pass - Enduring
8 | Landis + Gyr | E470 120mm | Single Element Electricity Metering Equipment | HW 00.03.02.02 FW 24.03.10.02 | 2020-01-23 | Landis + Gyr | 2019-06-24 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
9 | Landis + Gyr | E470 100mm | Single Element Electricity Metering Equipment | HW 00.05.02.02 FW 38.03.10.02 | 2020-01-23 | Landis + Gyr | 2019-05-30 | Plextek | Pass - Derogation | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
10 | Landis + Gyr | E470 100mm | Single Element Electricity Metering Equipment | HW 00.05.02.03 FW 38.03.10.02 | 2020-01-23 | Landis + Gyr | 2019-10-10 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
11 | Kaifa Technology UK Ltd | MA120B - 5 Terminal Meter | Single Element Electricity Metering Equipment | HW 43:30 / FW 12:09:94:16 | 2020-02-19 | Kaifa Technology UK Ltd | 2020-02-14 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
12 | Secure Meters (UK) Ltd | Liberty 101 | Single Element Electricity Metering Equipment | HW A0:A1:01:3D / FW 01:28:00:00 | 2020-12-14 | Secure Meters (UK) Ltd | 2020-05-29 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
13 | Itron | EM425-UK2 | Single Element Electricity Metering Equipment | 01:03 / 05:15:05:09 | 2021-04-19 | Itron | 2020-09-25 | Minor Mod - CSP/DCC review | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
14 | Itron | EM425-UK2 5T | Single Element Electricity Metering Equipment | 01:05 / 05:15:05:09 | 2021-04-19 | Itron | 2020-09-25 | Minor Mod - CSP/DCC review | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
15 | Kaifa Technology UK Ltd | MA329B | Poly Phase Electricity Metering Equipment | HW 50:33 / FW0 03:30:15:19 | 2022-02-23 | Kaifa Technology UK Ltd | 2021-06-10 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
16 | Kaifa Technology UK Ltd | MA120 | Single Element Electricity Metering Equipment | HW 41:31 / FW 17:10:17:17 Minor hardware amendment | 2022-06-22 | Kaifa Technology UK Ltd | 2022-06-20 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
17 | Honeywell - Elster | AS302P | Single Element Electricity Metering Equipment | 00:00:02:01 - 09:02:40:09 | 2022-09-12 | Honeywell - Elster | 2022-09-12 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
18 | Kaifa | MA120 V16 | Single Element Electricity Metering Equipment | 31:38:42:30 / 16:16:16:20 | 2023-03-07 | Kaifa Technology UK Ltd | 2022-03-28 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
19 | Kaifa | MA120B V16 | Single Element Electricity Metering Equipment | 31:39:44:30 / 16:16:16:20 | 2023-03-07 | Kaifa Technology UK Ltd | 2022-03-28 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring
20 | Kaifa | MA329B | Poly Phase Electricity Metering Equipment | 33:32:51:30 / 05:30:18:20 | 2023-03-07 | Kaifa Technology UK Ltd | 2022-03-04 | Plextek | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring | Pass - Enduring

## Key
Outside Limits | Test results fall outside of enduring and derogation limits
Pass - Derogation | Test results fall outside of enduring but within derogation limits
Pass - Enduring | Test results are within enduring limits