This document is classified as Clear in accordance with the Panel Information Policy. Recipients can distribute this information to the world, there is no limit on disclosure. Information may be shared without restriction subject to copyright.

MP085B ‘Synchronisation of Smart Meter voltage measurement periods’

Second Request for Information

Responding to this consultation

This is a Request For Information (RFI) for MP085B 'Synchronisation of Smart Meter voltage measurement periods (meters currently installed)'.

We invite you to respond to this consultation and welcome your responses to the questions set out in this form. To help us better understand your views on this Modification Proposal, please provide rationale to support your responses. In order for us to set out the business case we ask that you provide any information you can on the costs and benefits of this modification to you. This can be a rough order of magnitude and can be marked as confidential.

To help us process your response efficiently, please email your completed response form to sec.change@gemserv.com with the subject line ‘MP085B Second Request for Information response’.

If you have any questions or you wish to respond verbally, please contact Ben Giblin on 020 3934 8646 or email sec.change@gemserv.com.

Deadline for responses

This RFI will close at 17:00 on Tuesday 7 January 2025.

The Proposer may not be able to consider late responses.

Summary of the proposal

## What is the issue?

To monitor the efficiency of their networks and meet the legal obligation of the voltage at the premises being within the prescribed limits, DNOs use RMS voltage readings from all meters across their network. When the SEC was first drafted, the Technical Specifications were silent on the average RMS voltage readings from Smart Meters measuring across a consistent period synchronised in time for all meters, which is essential for monitoring. An example of this would be for an average to be measured across a 30-minute period starting on the hour and on the half hour, which would match half hour consumption profile data. This has led to different Electricity Smart Metering Equipment (ESME) Device Models applying varying start times for the RMS voltage measurement.

## What is the impact?

There are two headline implications if this issue is not addressed for meters currently installed:

DNOs will either need to make conservative assumptions about network voltages which may lead to inefficient, potentially more costly solutions being implemented until all Devices are updated to SMETS v5.2; or

DNOs will need to reconfigure the Average RMS Voltage Measurement Period for Devices currently installed from the default period of 30 minutes to one minute and download the high granularity data so that they can recreate synchronised data in their own systems. This will require DNOs to develop systems to manage a greater volume of data than originally envisaged as well as increasing traffic on the DCC System. This is not considered to be an efficient solution.

## What is the Proposed Solution?

The Proposed Solution is to populate the Maintenance Validity Period (MVP) end dates for pre-ESMETS v5.2 versions within the TS Applicability Tables (TSAT). This will mean that pre-ESMETS v5.2 Devices can still be installed as the Installation Validity Period (IVP) will remain undetermined. This will reduce scrappage costs as Suppliers and or their contracted meter installers are likely to have existing stock that is yet to be installed. Once the MVP end date expires, the ESME will have to be updated to ESMETS v5.2 or later.

The Proposed Solution will result in ESME Devices gaining additional functionality compared to their current ESMETS version.

The proposed end date is 2 November 2028 to allow Manufacturers enough time to design and produce ESMETS v5.2 firmware updates and for Suppliers to roll them out across their Devices.

## Will I be impacted?

MP085B is expected to impact the following SEC Parties:

Suppliers

Electricity Network Operators

Other SEC Parties

Full details of how this modification may impact you can be found in the Modification Report.

Respondent details

| Respondent details |  |
| --- | --- |
| Name | Click and insert your name |
| Organisation | Click and insert the name of the organisation you are responding for |
| Phone number | Click and insert a phone number we can call you on with any queries |

| Parties represented |  |
| --- | --- |
| Party Category | Click and select your Party Category |
| Parties represented | Click and insert the name(s) of any SEC Parties you are responding for |

| Confidential information |  |
| --- | --- |
| Does your response contain any confidential information? |  |
| Response | Click and select your response |
| If ‘yes’, please clearly mark all confidential information (e.g. in red font). Any confidential responses will be shared with the Change Sub-Committee, the Change Board and the Authority under a Red classification in accordance with the SEC Panel Information Policy. |  |

Consultation questions and context

SECAS presented this modification to the Technical Architecture and Business Architecture Sub-Committee (TABASC) in September 2024. SECAS presented information from three Networks about the scale of the issue, however the TABASC was unable to make an informed decision regarding endorsing the Proposed Solution. They requested further information about the number of Devices which are non-compliant with technical specifications before potentially being able to provide a final opinion.

The TABASC recommended that a more acceptable solution would be to end date the Installation Validity Period (IVP) of ESMETS versions prior to v5.2. The TABASC noted it would be useful to identify the issues associated with an IVP-based solution rather than the current MVP-based solution via a Request for Information (RFI).

Alternative Solution

For the purpose of this RFI, SECAS is asking Parties to give their thoughts on an Alternative Solution.

The Alternative Solution would mean end-dating the IVP of versions of ESMETS prior to version 5.2 in the Technical Specification Applicability Table (TSAT). The date of 2 November 2028 would be added to the TSAT, meaning Devices would need to be installed before this date in order to count towards Suppliers roll-out targets.

TSAT Guidance Note

SECAS has produced a guidance document on how to interpret the TSAT and how it impacts Parties which is available here.

| Question 1 |  |
| --- | --- |
| The Alternative Solution would end date the Installation Validity Period for ESMETS versions prior to v5.2 as 2 November 2028. Would your organisation experience any issues if the Alternative Solution was adopted? Please provide your rationale, including if ‘yes’ how this issue affects you and the impacts this is having. |  |
| Response | Click and select your response |
| Rationale | Click and insert the rationale for your response |

| Question 2 |  |
| --- | --- |
| If the Installation Validity Period for ESMETS versions prior to v5.2 was end dated as 2 May 2030, would this be more suitable for your organisation? Please provide your rationale. |  |
| Response | Click and select your response |
| Rationale | Click and insert the rationale for your response |

| Question 3 |  |
| --- | --- |
| Do you have a preference between the Proposed Solution and Alternative Solution? Please provide your rationale. |  |
| Response | Click and select your response |
| Rationale | Click and insert the rationale for your response |

| Question 4 |  |
| --- | --- |
| Please provide any further comments you may have. |  |
| Comments | Click and insert any further comments |

Smart Energy Code Administrator and Secretariat (SECAS)

8 Fenchurch Place, London, EC3M 4AJ

020 7090 7755

secas@gemserv.com