## Slide 1: Joint SEC / DCUSA Working Group SECMP0046 ‘Allow DNOs to control Low Carbon Technologies connected to Smart Meter infrastructure’ DCP 371 ‘Last resort arrangements for Distributors to manage specific consumer connected devices’

## Slide 2: Joint Working Group
Outcomes
To agree what parameters are suitable for Consumer compensation
To agree direction of DCUSA draft legal text
To agree next steps
Outcomes
To further define business case for modification

## Slide 3: Clarifications from previous discussions

## Slide 4: Last Resort roadmap
Load on feeders and substations monitored-if load reaches a predetermined level (90%) then flexibility services tender issued
If load begins to increase flexibility contract renegotiated
Network Outage Occurs
Reason for outage investigated
Emergency tender for flexibility issued.. If no interest in providing services or cost uneconomic then SEC solution implemented
Customers with EV Charging equipment contacted and asked if they wish to participate in the SEC solution to mitigate network interruptions while a permanent solution is investigated and put in place
SEC solution implemented for a maximum of 12 months
DNO investigates permanent solution to the situation. Options include upgrading cable, overlaying cable, replacing transformer, new smart solutions as they become available. Further flexibility tender

## Slide 5: Roadmap stage 1
Agreed each DNO would publish methodology for the point at which they start to procure flexibility
To be published in their Network Plan under the CEP
Load on feeders and substations monitored-if load reaches a predetermined level (90%) then flexibility services tender issued

## Slide 6: Existing flexibility contracts
Where DNOs require flexibility they should make it known publicly (via website or flex platform?)
Then providers can put flexibility contracts in place
Load on feeders and substations monitored-if load reaches a predetermined level (90%) then flexibility services tender issued
DNO contacts Consumers?

## Slide 7: Network outages
DCUSA draft legal text
“Where a network outage occurs, the DNO will investigate the cause. If evidence determines that the outage is not a one-off random event or as a result of external interference with network assets, and is as a result of the Flexibility Service Provider failing to deliver the procured Flexibility Service then the use of the Smart Meter Last Resort Solution would be triggered. In parallel to this an emergency tender for Flexibility Services will be issued.”
Network Outage Occurs
Reason for outage investigated

## Slide 8: Consumer Journey
Consumer gets EV, offered flex contract by Supplier or flexibility provider
Consumer may be contacted by Supplier or flex provider
Outage occurs
Consumer contacted by flex provider/Supplier/DNO (explain situation)?
Customer curtailed (if agreed)
Long term solution implemented within 12 months of first outage
Flexibility contract in place

## Slide 9: Clean Energy Package – Article 32
“Member States shall provide the necessary regulatory framework to allow and provide incentives to distribution system operators to procure flexibility services, including congestion management in their areas, in order to improve efficiencies in the operation and development of the distribution system. In particular, the regulatory framework shall ensure that distribution system operators are able to procure such services from providers of distributed generation, demand response or energy storage and shall promote the uptake of energy efficiency measures, where such services cost-effectively alleviate the need to upgrade or replace electricity capacity and support the efficient and secure operation of the distribution system.”
Incentives for the use of flexibility in distribution networks

## Slide 10: Clean Energy Package – Article 32
“Distribution system operators shall procure such services in accordance with transparent, non-discriminatory and market-based procedures unless the regulatory authorities have established that the procurement of such services is not economically efficient or that such procurement would lead to severe market distortions or to higher congestion.”
Incentives for the use of flexibility in distribution networks

## Slide 11: Last Resort definition options
Where the Distributor cannot procure flexibility in a transparent, non-discriminatory and market-based way - Article 32 of the Clean Energy Package (CEP)
‘Capacity Headroom’ means the minimum margin below the maximum capacity of the Distribution System which the Company reasonably believes is necessary and justifiable to maintain Security of Supply and other technical parameters (DCUSA)
Every commercial option has been exhausted (Grid code GC0147 discussions)
All reasonable steps (has stood the test of time in many Codes)

## Slide 12: Draft DCUSA legal text for last resort
Where a network outage has occurred due to a contracted Flexibility Services Provider being unable to deliver the expected service. DNOs are required to investigate the cause of an outage to determine the cause. If evidence determines that the outage is not a one-off random event or as a result of external interference with network assets, then the use of the Smart Meter Last Resort Solution would be triggered; or
Where speed of uptake in Low Carbon Technologies is in excess of the forecast within the Network Development Plan as per the requirement of Article 32, Clause 3 within the Clean Energy Package.
OR

## Slide 13: Draft DCUSA legal text for network plan
Total number of deployments of overload protection equipment;
Number of pre-fault deployments, number of post-fault deployments;
Number of customers on affected networks;
Number of customers signed up and with interim solution in place;
Total number of requests for/incidents of overload protection;
Number of opt-outs; and
Distribution of duration of overload protection
Throughout the duration of the use of the Smart Meter Last Resort Solution the DNO will provide a report every three months to Suppliers and the Authority providing the following information:
Once the Smart Meter Last Resort Solution is implemented DNOs will use reasonable endeavours to put a permanent solution in place as soon as possible and no later than 12 months

## Slide 14: Consumers being approached
What is the procedure for Consumers to be contacted by:
Suppliers
Flexibility providers
Distribution Network Operators
Citizens Advice - Consumer Protection from Unfair Trading Regulations
All Consumers to be provided with flexibility information including Priority Service Register (PSR) customers
This is outside the scope of DCUSA

## Slide 15: Long-term solution
Based on the logistics of reinforcing the network
Any extension would have to be reported to DCUSA and Ofgem
12 months should be the maximum duration

## Slide 16: Compensation options
Compensation options

## Slide 17: Penalty options
Penalty options

## Slide 18: Next steps
DCUSA to refine legal text
DCUSA to issue Working Group consultation
Next meeting?