Smart Metering Implementation Programme

Technical Specification Issue Resolution Proposal

This note provides BEIS’s interim position on an issue identified with the current version of the Technical Specifications or their associated content.  Please note this position should be considered as Draft until ratified through TBDG.

| Date | 26 October 2017 |
| --- | --- |
| Issue Resolution Proposal | IRP546 |
| Issues Log ID | TS0791 |
| Issue Title | GCS21f units of measure description |
| Source | DCC / BEIS |
| Date Raised | 5 October 2017 |
| Status | Draft v0_1 |
| Documentation References | GBCS V1.0 |

Description:

In the process of providing an explanation for Issue 'TS0727 - Reading the Tariff From a Gas Meter' an error in the Unit of Measure field of a Message Template was found.

Once a tariff has been set by a Command resulting from SR 1.1.1, the tariff can be read using SR 4.11.1.   However, the last value returned in the resulting GCS21f Response Message Template (which contains the Active Tariff Price) is the Active Tariff Price in currency units per m3, as specified by the 'Unit of Measure' field in the ‘Publish Price’ part of the GBCS message template for the GCS21f Response.  This field has the value 0x01 meaning either m3 or m3/h dependent on context.  The meaning here should be m3 rather than m3/h as stated.

Proposed Position:

The proposed resolution is to correct the explanatory text in the GCS21f Message Template to state ‘m3’.

Interoperability:

This change has no normative effect since it does not change the contents of any Message and does not change Message processing requirements.  Thus, it does not affect interoperability and it does not require any system or Device changes.

Required Changes to Documentation:

In GBCS, Table 20, ZigBee Commands tab, change cell II465 from ‘m3/h’ to ‘m3’ as shown in the modified Table 20 embedded below.

This results in a changed GCS21f Message Template as below.

| Proposed specification version for incorporation | TBC |
| --- | --- |
| Impact on previous RPs | None |
| Attachment(s) |  |