Smart Metering Implementation Programme

Technical Specification Issue Resolution Proposal

This note provides BEIS’s interim position on an issue identified with the current version of the Technical Specifications or their associated content.  Please note this position should be considered as Draft until ratified through TBDG.

| Date | 15 February 2018 |
| --- | --- |
| Issue Resolution Proposal | IRP552 |
| Issues Log ID | TS0796 |
| Issue Title | Query Alert-Event 8F70 |
| Source | Holley |
| Date Raised | 7 September 2017 |
| Status | Draft 0.1 |
| Documentation Reference | GBCS v2.0 |

Description:

During CPA testing, Holley spotted a conflict in relation to event/alert for 0x8F70 in the GBCS Table 16.2

The spreadsheet states that 0x8F70 should not be sent as WAN alert (i.e. column F is N ), but only logged in the event log.  However, there is a Y in  the column 'O' marked as ESME/GSME alert always on.

Could you please clarify, whether or not ESME/GSME should send this alert when the security credentials are changed?

Proposed Position:

As per SMETS and CHTS references in Table 16.2 for event / alert code ‘0x8F70’, a Security Log entry is required but there is no Alert with that alert code. Table 16.2 states both requirements correctly but also has cell entries that contradict this.

As per GBCS Section 9, Update Security Credentials Commands can, when future dated result in Alert 0x8F66 or 0x8F67 (but not Alerts 0x8F70). Thus the reference to GBCS section 13 against 0x8F70 is incorrect as are the statements that the alert is always on and about how it is constructed. The proposed position is to correct these points reflect the fact that there is no 0x8F70 Alert.

Interoperability and /or Compatibility:

This has no impact as it purely cross references an existing GBCS requirement.

Required Changes to Documentation:

In GBCS Table 16.2, row 91 make the following green highlighted changes:

| Proposed specification version for incorporation | TBA |
| --- | --- |
| Impact on previous IRPs | None |
| Attachment(s) | None |